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Adhesive Crystallography Seal
	Description:
	An optically clear, non-tacky adhesive plate seal ideal for crystallography, PCR and genotyping applications. 

	
	

	Ordering Information:
	AB-1450

AB-2450


	
	Adhesive Crystallography Seal Adhesive Crystallography Seal Roll for SEAL-IT 100™
	50 sheets

250m roll

	
	AB-1450/s
	
	Adhesive Crystallography Seal sample
	2 sheets

	
	

	Sheet size:

(AB-1450 only)
	Length:
	
	141.3 ± 1.6mm (with tabs)

120.7 ± 1.6mm (without tabs)

	
	Width:
	
	79.4 ± 1.6mm

	
	

	Storage:
	Store in a cool, dry place. Avoid direct exposure to sunlight. It is recommended to use these seals within one year from date of purchase.

	
	

	Physical Properties:
	Seal thickness:

Temperature range:
	100µm (without release liner)

-70°C to 110°C

	
	
	

	Sealing:
	AB-1450: 

AB-2450:
	Bond strength is dependent on application pressure, so sufficient pressure must be applied. For optimal seal application, ABgene® recommend the use of the Adhesive Seal Applicator (AB-1391), available free of charge when ordered with AB-1450.

For recommended sealing conditions please refer to the SEAL-IT 100™ Instruction Manual.

	
	SEAL-IT 100™ is a trademark of ABgene® Ltd.



